Table 8.2.1.1 Airport Environs Overlay Code

| Performance Outcomes |  | Acceptable Outcomes |  | Proposed Solution Explanation of how the development addresses the Acceptable Outcome and/or Performance Outcome. |  |
| --- | --- | --- | --- | --- | --- |
| For accepted, accepted subject to requirements and assessable development (code, code (fast tracked) and impact) |  |  |  |  |
| PO1 - Development in the vicinity of Airports protects the safe and efficient operation of the Airport; - is designed and located to achieve a suitable standard of amenity for the proposed activity; and - does not restrict the future operational requirements of the Airport. | AO1 Buildings, structures (both freestanding and attached to buildings including signs, masts or antennae) and vegetation (at its mature height) where within the Airport Environs Buffer identified on the Airport environs overlay maps (OM-001) have a maximum height of 7.5 metres at any point above ground level. |  |  |  |
| PO2 The height of any building, structure or tree that can reach a significant height located in the Obstacle Limitation Surface (OLS) area of the airport, is restricted so that, the safe and efficient operations of the airport are protected. | AO2 The maximum height of any building, structure or tree is below the height of the Obstacle Limitation Surface (OLS) height as indicated for the particular site. |  |  |  |